TITLE : DS427 Assessment of Facilities and Activities for Protection of the Public and Protection of the Environment

| COMMENTS BY REVIEWER Reviewer: P. JAUNET Page Country/Organization: FRANCE/ASN Date: : May 2014 |  |  |  | RESOLUTION |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Comment No. | Para/Line No. | Proposed new text | Reason | Accepted | Accepted, but modified as follows | Rejected | Reason for modification/rejection |
|  |  |  | Several para in DS427 show that Member State practices are differents. The purpose of a safety guide is not to show the panorama of existing practices but to provide recommendations. A tecdoc might be more appropriate for several aspects… |  |  |  |  |
|  |  |  | Is it pragmatic to mix in a single document assessment of impact: - from normal operation and from accident - for large facilities (NPP…) and smaller facilities (hospital, universities) It seems the current result is not so positive… |  |  |  |  |
|  | 4,3 | At the beginning of the paragraph, add“in order to review the assessment….. | The level of complexity to provide is under the responsibility of the operator. The regulatory body must then establish if this level is adequate |  |  |  |  |
|  | 5.8 | Replace “minor amount” by “releases” | The notion of minor amount is subjective |  |  |  |  |
|  | 5.37 | Replace “and the technology available” by “, the technology available, and the level of the dose estimation in comparison with the dose limit”. | If the dose limit is very low, a dose constraint is not necessary” |  |  |  |  |
|  | Assessment of protection for the public against potential exposures | Delete section and keep the guide on normal operation and AOO. | Delete this section (see 5.78 and 5.79 showing various MS practices). If not, significant changes are needed |  |  |  |  |
|  | 5.72 | Accidents, with low and very low probability, leading to releases to the environment could occur. In order to assess, during the initial licensing process planning phase of an activity or facility or later review (for example within the frame of a periodic safety review), the potential exposures to members of the public, as required in the IAEA safety standards [1, 2, 48], those accidents, with their probabilities, should be considered. | Clarification. |  |  |  |  |
|  | 5.74 | Accidents can be classified into two broad categories: those which were considered when the activity of facility was first authorized and then considered later on, for example as a result of new operating experience, development of science and technology or within the frame of periodic safety review. for which the safety features of the facility or the activity prevent the escalation or mitigate significantly the consequences to the public; and those which, for different reasons, including lack of knowledge, are not encompassed in the design basis. Those two categories have historically been are normally called design basis accidents (DBA) and beyond design basis accidents (BDBA)15 respectively. Within the BDBA category, some accidental situations would not result in significant releases to the environment and the radioactivity will remain confined within the installation. For example hospitals and small laboratories — installations needing simple assessment — BDBA cannot lead to large releases, simply because they do not have large enough inventories of radioactive materials. It should be acknowledged that, for new facilities, accident which might have been earlier considered as BDBA are now considered in the initial design, for example as design extension conditions (DEC) for NPPs. | Clarification. Need to introduce the DEC for NPPs. This would better fit in a separate paragraph |  |  |  |  |
|  | 5.74 | Make the end of 5.74 a separate paragraph: 5.## Within the BDBA category, some accidental situations would not result in significant releases to the environment and the radioactivity will remain confined within the installation. For example hospitals and small laboratories — installations needing simple assessment — BDBA cannot lead to large releases, simply because they do not have large enough inventories of radioactive materials. |  |  |  |  |  |
|  | 5.75 | 5.75. Other types of BDBA accidents or DEC are those that can release significant amounts of radioactivity to the environment. These types of accidents are of very low probability and can only be postulated for facilities with large radionuclide inventories and the potential to be released, identified in this Safety Guide as needing complex assessment, for instance: nuclear power plants, large research reactors, radioisotopes production facilities and reprocessing plants. These types of accidents can be referred as severe accidents16. Severe accidents in nuclear installations are very low probability17 plant states, that are beyond design basis accident conditions arising from multiple failures of safety systems with the integrity of many or all of the barriers to the release of radioactive material threatened. In the case of nuclear power plants this includes the degradation of the core of the reactor [50]. | DEC have to be introduced Severe accidents are considered at the initial design stage for new NPPs. They are not therefore BDBA but DEC for new NPPs… |  |  |  |  |
|  | Footnote 17 | Delete footnote 17 | Current operating experience shows that the frequency suggested are not achieved… |  |  |  |  |
|  | 5.76 | 5.76. DBA, DEC and BDBA with no significant releases can be more easily characterized because the low level releases would be determined by the design characteristics of the safety features in the activity or facility | DEC have to be introduced |  |  |  |  |
|  | 5.77 | For installations needing complex assessment the definition and characterization of the severe accidents to be included in the assessment should be based on detailed safety analysis, combining deterministic and probabilistic analytical methods [29, 48] as well as expert judgement. | Clarification |  |  |  |  |
|  | 5.78 | Delete 5.78 | Does not provide recommendation as every option is possible |  |  |  |  |
|  | 5.79 | Delete 5.79 | Does not provide recommendation as every option is possible |  |  |  |  |
|  | 5.81 | Delete 5.80 | This raise question on why other accidents are studied in a different way |  |  |  |  |
|  | 5.82 | Delete 5.82 | Can accident which already occurred be understood as “hypothetical accidents” ? Conservative assumptions may not be applied to every step of the calculations (conservative source term, conservative leak, conservative exposure scenario…). Is it consistent with 5.92 for example (realistic source term…)? See also 5.97 or 5.125… |  |  |  |  |
|  | 5.97 |  | Does it implies that methods are “twisted” to find an acceptable result ? |  |  |  |  |
|  | 5.102 |  | Is this reasonable for small sacel facilities ? |  |  |  |  |
|  | 5.111 |  | So what is IAEA recommendations |  |  |  |  |
|  | 5.117 | Delete 5.117 | See comment on appendix 1 |  |  |  |  |
|  | 5.118 | Delete 5.118 | See comment on appendix 1 |  |  |  |  |
|  | Appendix I | Delete Appendix I. | This describe what INSAG believe is an acceptable impact for a facility. Such information would have a more appropriate place in the Safety Standard dealing with the siting or design of a facility (or even in the standard dealing with licensing process). They are not in those standards… |  |  |  |  |
|  | Annex I |  | The EU BSS (December 2013) is more prudent on environment protection. “This Directive applies to any planned, existing or emergency exposure situation which involves a risk from exposure to ionising radiation which cannot be disregarded from a radiation protection point of view or with regard to the environment in view of long-term human health protection.” Or “The competent authority shall where appropriate establish authorised limits as part of the discharge authorisation and conditions for discharging radioactive effluents which shall: (a) take into account the results of the optimisation of radiation protection; (b) reflect good practice in the operation of similar facilities. In addition, these discharge authorisations shall take into account, where appropriate, the results of a generic screening assessment based on internationally recognised scientific guidance, where such an assessment has been required by the Member State, to demonstrate that environmental criteria for long-term human health protection are met.” Deletion of annex I should be considered |  |  |  |  |
|  | Annex II | Delete annex II |  |  |  |  |  |
|  | Annex III | Delete annex III | Such information is more relevant to a TecDoc than a safety guide. |  |  |  |  |
|  | Annex III France practices |  | It should be noted that there are ongoing discussion between the regulator (ASN) and licensee (EDF) with regard to dose for category 4 or DEC. |  |  |  |  |